# Order Form- Insoles

- Email   - will be replaced by login id

- Orthotist Name:-  *

* Mandatory Red will not be there in the final version of the app

- Clinic Location:- *

### USER DETAILS

- Your User Id: Patient/Case identifier

- Age

- Weight: Used to determine the overall device and reinforcement thickness

- Diagnosis: Used to determine the device specifications (which at the moment is being taken manually from the user- but we would want to create a database of this correlating with the device design to create establish some form pattern between the 2 and automate the whole design process)

# MEASUREMENT DETAILS

## Heel height to be integrated in the insole: Would become a part of clinical or angular modifications eventually

- Which side is the insole for?

Left

Right

Bilateral

# LEG INFORMATION

Along with scan, taking a few measurements of the limb help to maintain the precision and accuracyFoot length (in mm)

Make sure that the foot is in partial weight bearing so that it splays naturally, leave blank if not recorded.

- ML at Metatarsal heads (in mm)

- Foot length (in mm)

## Calcaneal correction

In case of other please state varus or valgus and the desired angle.

In case of others please state varus or valgus and the desired angle.

Eventually the software should be able to detect and apply the needed correction automatically from this field and just offer the option of any adjustments if needed by the user.

As scanned/casted

Neutral position

Other:

## Insole shell thickness (Standard is 3 mm). Would become a part of the device specifications

2.5 mm

3 mm

Other:

## Reinforcement ribs to prevent arch collapse

  - 1 mm (standard)

  - No

  - Other:

# Additions would also include all the variations shown in the link below:

3D Printed - LaserCAM Orthotics KB - Confluence (atlassian.net)

## Metatarsal Bar

Mention metatarsal head area for speciﬁc area weight relief. A standard relief is 5 mm in height

## Metatarsal Pad

  - Yes

  - No

## Heel

No Heel post

Heel Post minus heel height

Heel post extending to the ground

- Additional Comments

# LEFT LEG INFORMATION

Along with scan, taking a few measurements of the limb help to maintain the precision and accuracy

## Foot length (in mm)

- ML at Metatarsal heads (in mm)

Make sure that the foot is in partial weight bearing so that it splays naturally, leave blank if not recorded

## Calcaneal correction

In case of other please state varus or valgus and the desired angle.

### Mark only one oval.

As scanned/casted Neutral position Other:

## Insole shell thickness (Standard is 3 mm)

### Mark only one oval.

2.5 mm 3 mm Other:

## Reinforcement ribs to prevent arch collapse

### Mark only one oval.

1 mm (standard) No

Other:

# Additions

## Metatarsal Bar

Mention metatarsal head area for speciﬁc area weight relief. A standard relief is 5 mm in height

### Mark only one oval.

Forefoot width

Other:

## Metatarsal Pad

### Mark only one oval.

Yes No

## Heel

### Mark only one oval.

No Heel post	Heel Post minus heel height

Heel post extending to the ground

## Any text to be engraved on the lower side of the insoles?

### Mark only one oval.

No

Other:

- Additional Comments

# RIGHT LEG INFORMATION

Along with scan, taking a few measurements of the limb help to maintain the precision and accuracy

## Foot length (in mm)

- ML at Metatarsal heads (in mm)

Make sure that the foot is in partial weight bearing so that it splays naturally, leave blank if not recorded

## Calcaneal correction

In case of other please state varus or valgus and the desired angle.

### Mark only one oval.

As scanned/casted Neutral position Other:

## Insole shell thickness (Standard is 3 mm)

### Mark only one oval.

2.5 mm 3 mm Other:

## Reinforcement ribs to prevent arch collapse

### Mark only one oval.

1 mm (standard) No

Other:

# Additions

## Metatarsal Bar

Mention metatarsal head area for speciﬁc area weight relief. A standard relief is 5 mm in height

### Mark only one oval.

Forefoot width

Other:

## Metatarsal Pad

### Mark only one oval.

Yes No

## Heel

### Mark only one oval.

No Heel post	Heel Post minus heel height

Heel post extending to the ground

## Any text to be engraved on the lower side of the insoles?

### Mark only one oval.

No

Other:

## Additional Comments

This content is neither created nor endorsed by Google.

Forms